## Sheet1
Material Demand Note For Askari IBB Burewala
Project Name | 20 KW Hybrid Solar System |  | Client | Askari Bank
Region | Burewala |  | Mob #
Item No. | Description | Brand | UOM | QTY | Unit price | Cost
Panel and Inverters
1 | 610 watt Tier one Jinko/Canadian/Longi Bifacial solar perc 12 year work man ship 25 year 80% efficency | Canadian | Panel | 20 |  | 0
2 | Nitrox 6 kW, Hybrid | Nitrox | Pcs | 2 |  | 0 | 0
| Batteries |  |  |  |  | 0 | 0
1 | Batteries Lithium Ion Pylontech 48/51 V,100 A, | Pylontech | Pcs | 2 |  | 0
2 | Battery Bracket for 3 batteries Lithium | EA | Brackets | 8 |  | 0
3 | Battery Breaker 125 A | Chint | Pcs | 2 |  | 0
4 | Battery Wire 35 mm | Fast/Pakistan | Meter | 5 |  | 0
5 | Thimble 35 mm O type | Copper | Pcs | 8 |  | 0
6 | Thimble 35 mm I type | Copper | Pcs | 8 |  | 0
| Distribution Box and Accessories |  |  |  |  | 0 | 0
1 | Distribution Box 16 SWG, DC | EA | Pcs | 2 |  | 0
2 | Distribution Box 16 SWG, AC | EA | Pcs | 2 |  | 0
3 | Voltage control device 2 Pole, | Chint | Pcs | 2 |  | 0
4 | DB Lights | Chint | Pcs | 6 |  | 0
5 | AC Breakers 2 pole, 63 A, | Chint | Pcs | 6 |  | 0
6 | DC Breaker 2 Pole, 16 A, Chint, 500 v | Chint | Pcs | 4 |  | 0
7 | Changeover 3 pole 50 A, CAMSCO | Camsco | Pcs | 2 |  | 0
| Protection Devices |  |  |  |  | 0 | 0
1 | AC SPD 2 Pole , Chint | Chint | Pcs | 2 |  | 0
2 | DC SPD ,Chint 2 pole | Chint | Pcs | 4 |  | 0
3 | Changeover 4 pole Handle, | Local | Pcs | 1 |  | 0
| Conduit Material |  |  |  |  | 0 | 0
1 | PVC Pipes, 1.5" (Dura/Dura Adam Gee) | Dura | Lengths | 15 |  | 0
2 | Flexible Pipes 1.5" Dura/Dura Adam Gee | Dura | Meter | 10 |  | 0
3 | 1.5" Bend (Dura/ Adam Gee) | Dura | Pcs | 10 |  | 0
4 | 1.5" Socket (Dura/Adam Gee) | Dura | Pcs | 10 |  | 0
5 | 1.5" T- Socket (Dura/Adam Gee) | Dura | Pcs | 5 |  | 0
6 | Duct Patti 60*60 (Dura/Adam Gee) | Dura | PCS | 2 |  | 0
7 | Clamp 1.5'' | Dura | pcs | 40 |  | 0
8 | PVC Tapes | Local | pcs | 4 |  | 0
9 | Cable Tie | Local | PKT | 3 |  | 0
10 | MC4 Connectors | Local | Pairs | 8 |  | 0
11 | Thimbles 6 mm I Type | Local | Pcs | 45 |  | 0
12 | Thimbles 10 mm I Type | Local | Pcs | 45 |  | 0
13 | Thimbles 16 mm I Type | Local | Pcs | 36 |  | 0
14 | Thimbles 10 mm U Type | Local | Pcs | 36 |  | 0
15 | PG Glands 29 | Local | Pcs | 24 |  | 0
16 | drywall screw+plastic plug (Gatti kharpeech) | Local | PCS | 50 |  | 0
17 | Labels + Tags | EA | Set | 2 |  | 0
| Cables |  |  |  |  | 0 | 0
1 | DC Wire Flexible (Fast/Pakistan) 6mm single core, flexible, 1500 V (Red) | Fast/Pakistan | meters | 180 |  | 0
2 | DC Wire Flexible (Fast/Pakistan) 6mm single core, Flexible, 1500 V (Black) | Fast/Pakistan | meters | 180 |  | 0
3 | AC Wire 10 mm Single Core (Fast/Pakistan) red | Fast/Pakistan | meters | 60 |  | 0
4 | AC Wire 10 mm Single Core (Fast/Pakistan) black | Fast/Pakistan | meters | 30 |  | 0
5 | Earthing Wire 2.5 mm (Fast/Pakistan) | Fast/Pakistan | meters | 5 |  | 0
6 | Earthing Wire 16 mm (Fast/Pakistan) | Fast/Pakistan | meters | 180 |  | 0
| Earthing and Lightening Arrestor Material |  |  |  |  | 0 | 0
1 | Earthpit Square 12'' *12'' | Cemented | PCS | 2 |  | 0
2 | Earth Chemical | Local | PCS | 4 |  | 0
3 | Thimble 2.5 mm with earthing Nut BoltS | Local | PCS | 90 |  | 0
4 | Copper rope (Rassa) 16 mm | Copper | Ft | 40 |  | 0
5 | Copper Rod 16 mm, 6' | Copper | Pcs | 2 |  | 0
6 | G-I Pipe, 2'' dia, 6m | GI | Lengths | 2 |  | 0
7 | G-I, T-Socket | GI | Pcs | 2 |  | 0
8 | Copper Bus Bar, 3 mm, 1.5'' wide, 6'' long, with nut bolts and Insulators | Copper | Pcs | 2 |  | 0
9 | Copper Thimble 16 mm o Type | Copper | Pcs | 12 |  | 0
10 | lightening Arrester (Copper) with insulator and nut bolt | Copper | Pcs | 1 |  | 0
| Structure |  |  |  |  | 15200 | 0.58846
1 | H Beam (Mughal), 5'' *2.5'' ,11 SWG | Mughal | Ft | 240 |  | 0
2 | C Chanel 3'' * 1.5'' * 14 SWG (Galvanized) | GI | Ft | 160 |  | 0
3 | Top Plates 6'' * 3'' * 3mm | MS | Pcs | 9 |  | 0
4 | Base Plates 8''* 8''* 6 mm | MS | Pcs | 9 |  | 0
5 | Rectangular Tube 1.5'' * 1.5'' * 16 SWG | MS | Ft | 220 |  | 0
6 | Rawal Bolt 17 no. | Local | Pcs | 40 |  | 0
7 | Panel Nut Bolt Galvanized with double Washers | GI | PCS | 80 |  | 0
8 | Enemal Paint Black | Berger | Gallon | 2.5 |  | 0
9 | Red Oxide primer | Berger | Gallon | 1.25 |  | 0
10 | Epoxy | Local | Litre | 1 | 3000 | 3000
11 | Civil work 12'' *12''* 12'' | Local | Block | 9 | 1000 | 9000 | Field Team
12 | Petrol/Thinner | Local | Litre | 8 | 400 | 3200 | Field Team
13 | Sub Total |  |  |  |  | 15200
| Serives Budget |  | UOM | QTY | Unit Price | Total Cost
1 | Freight Charges ( |  | JOB | 1 |  | 0 | Transporter | will be planned after WO
2 | Team Travel |  | JOB | 1 |  | 0 | NA | will be planned after WO
3 | Room Rent |  | days |  |  | 0 | NA | will be planned after WO
4 | Engineer Visit |  | Job | 1 |  | 0 |  | will be planned after WO
5 | Fabrication Team Charges |  | watt |  |  | 0 | Vendor | will be planned after WO
6 | Earthing Bore Labor |  | Job | 2 |  | 0 | Vendor | will be planned after WO
7 | Misc. Exp |  | Job | 1 |  | 0 | Field Team | will be planned after WO
8 | Wages |  |  |  |  | account
9 | Sub Total |  |  |  |  | 0 | 0
10 | Total |  |  |  |  | 15200
| Plan | Date | Deadline |  | Actual Date
1 | Planning | 2026-04-08
2 | Procurement and Packing | 2026-04-09 | 2026-04-11
3 | Dispatch Date | Will be assigned after WO
4 | Delivery Date | Will be assigned after WO
5 | Starting Date (Mechanical) | Will be assigned after WO
6 | Deadline (Mechanical ) | Will be assigned after WO
7 | Site Manager | Will be assigned after WO
8 | Team Leader | Will be assigned after WO
9 | Electrician | Will be assigned after WO
10 | Helper | Will be assigned after WO
11 | Fabrication Team | Will be assigned after WO